Personal Emergency Evacuation Plan (PEEP) for Visitors attending BSW ICB premises

Visitors may have disabilities that would affect their ability to evacuate the building in an emergency. BSW ICB needs to prepare for this when planning for evacuation of the premises. If disabilities are acknowledged, a Personal Emergency Evacuation Plan (PEEP) will need to be completed for the visitor.

Considerations are set out below and it is the ICB colleague who has invited the visitor to our premises that has responsibility to ensure that these arrangements are in place for visitors.  This is required even if the meeting is unplanned and discharges fire safety responsibilities.

Is the Visitor:

- Unable to walk and to access fire escapes on all floors without assistance?

- A user of a wheelchair or other aid and in need of assistance to evacuate?

- An individual with impaired sight such that assistance is required to evacuate?

- An individual with impaired hearing such that assistance would be required to trigger a response to the fire alarm and/or to evacuate?

If the answer to any of the above is yes, then arrangements must be in place to ensure support is in place for a planned evacuation.  This could include:

- Identification of a lead to assist the individual evacuate and access the muster point.

- Being aware of any pre-existing plans about the individual perhaps supplied by the individual or carer.

- Not leaving the individual unattended.

- Making others aware of the individual being on site and requiring additional support (particularly any Fire Warden on the premises).

- Collaborating with the building Fire Safety Manager in the event of any evacuation.

- Reporting to Fire Service attending site any matters relating to such individuals requiring emergency action.

When planning for the evacuation of the visitor you should refer to:

- Site fire evacuation procedure

- Location of fire doors and escapes

- Availability of evacuation devices and trained personnel

- Location of fire extinguishers

- Fire alarm sequencing

- Assistance from other colleagues including the role of any Fire Wardens

- Mobile phones (if carried by key individuals).

Arrangements/plans must be written down and the visitor should be asked to agree to the plan.

Apr 2024 V2.0